## Sheet1
date | analysis_batch | location | name | measurement_time | pre_acid_time | post_acid_tiem | extra_time | sample_v | rinsing_v | filling_peed | rinsing_speed | pumping_speed | acid_strokes | nb_of_rinses | rinsing_mode | rinse_for_replicates | database_name | filename | flag | salinity | DIC | area | cv% | Notes
29/09/2021 | 1 | J | J01 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)J01.dat | 4 | 32 | -9999 | -9999 | -9999 | Aborted - Kloehn not connecting to laptop
29/09/2021 | 1 | J | J02 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)J02.dat | 2 | 32 | 306.6 | 22830 | 0.61
29/09/2021 | 1 | J | J03 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)J03.dat | 2 | 32 | 308.4 | 22966 | 0.113 | Weird calculations - restarting system but NOT "reset zero" for Li-cor (restarted after J03)
29/09/2021 | 1 | J | J04 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)J04.dat | 2 | 32 | 308.6 | 22977 | 0.214
29/09/2021 | 1 | J | J05 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)J05.dat | 2 | 32 | 3270.1 | 24347 | 0.08 | RESET ZERO before J05 + changed CALCULATION MODE to "reject first" (aoso before running J05)
29/09/2021 | 1 | J | J06 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)J06.dat | 2 | 32 | 3270.8 | 24353 | 0.051
29/09/2021 | 1 | J | J07 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)J07.dat | 4 | 32 | -9999 | -9999 | -9999 | Aborted - pressed wrong button
29/09/2021 | 1 | CRM | CRM-189-0099-1000 | 360 | 75 | 120 | 10 | 1000 | 1000 | 1500 | 1500 | 15 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)CRM-189-0099-1000.dat | 2 | 33.494 | 3033.2 | 18819 | 0.011
29/09/2021 | 1 | CRM | CRM-189-0099-1200 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)CRM-189-0099-1200.dat | 2 | 33.494 | 3041.8 | 22647 | 0.06
29/09/2021 | 1 | CRM | CRM-189-0099-1400 | 360 | 75 | 120 | 10 | 1400 | 1400 | 2100 | 2100 | 21 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)CRM-189-0099-1400.dat | 2 | 33.494 | 3038.3 | 26391 | 0.243
29/09/2021 | 1 | R | R13 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)R13.dat | 2 | 32 | 3277.8 | 24404 | 0.053 | First area = a bit of a vaccum
29/09/2021 | 1 | R | R20 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)R20.dat | 2 | 32 | 3277.2 | 24399 | 0.018
29/09/2021 | 1 | U | U14 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)U14.dat | 2 | 32 | 3281.3 | 24428 | 0.05
29/09/2021 | 1 | U | U42 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)U42.dat | 2 | 32 | 3277.9 | 24402 | 0.098
29/09/2021 | 1 | R | R12 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)R12.dat | 2 | 32 | 3280.2 | 24420 | 0.066
29/09/2021 | 1 | U | U49 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)U49.dat | 2 | 32 | 3274.2 | 24374 | 0.055
29/09/2021 | 1 | U | U06 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)U06.dat | 2 | 32 | 3270.5 | 24350 | 0.096
29/09/2021 | 1 | R | R17 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)R17.dat | 2 | 32 | 3271.3 | 24553 | 0.043
29/09/2021 | 1 | R | R08 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)R08.dat | 2 | 32 | 3272.7 | 24363 | 0.116
29/09/2021 | 1 | U | U02 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)U02.dat | 2 | 32 | 3272.9 | 24365 | 0.0097
29/09/2021 | 1 | CRM | CRM-189-0099-2 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)CRM-189-0099-2.dat | 2 | 33.494 | 3038.3 | 22619 | 0.148
29/09/2021 | 1 | CRM | CRM-189-0099-3 | 360 | 75 | 120 | 10 | 1200 | 1200 | 1800 | 1800 | 18 | 3 | 2 | all_to_stripped | no | LD_storage_test.dbs | 0-0 0 (0)CRM-189-0099-3.dat | 2 | 33.494 | 3035.5 | 22597 | 0.038